## Summary
HAZOP preparation — System 63
Node | Members | Rows | Rows w/ safeguard | proposed | reviewed | rejected
loop 63-051 | 63-JX051, 63-KC051 | 4 | 0 | 4 | 0 | 0
AI-prepared draft from extracted P&ID/SCD data — for HAZOP team review, not a completed study.

## loop 63-051
Node: loop 63-051
Members: 63-JX051, 63-KC051
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
No flow | blocked line / closed valve (generic); pump/compressor stop (generic) | loss of process function (generic) | (none found in extraction — verify) |  |  | proposed
Low flow | partial blockage / fouling (generic) | reduced capacity (generic) | (none found in extraction — verify) |  |  | proposed
High flow | control valve fully open (generic) | possible downstream overload (generic) | (none found in extraction — verify) |  |  | proposed
Reverse flow | check-valve failure / pressure reversal (generic) | possible contamination / backflow to upstream (generic) | (none found in extraction — verify) |  |  | proposed