## Summary
HAZOP preparation — System 82
Node | Members | Rows | Rows w/ safeguard | proposed | reviewed | rejected
loop 82-2012 | 82-XY2012, 82-ZL2012 | 4 | 0 | 4 | 0 | 0
loop 82-2013 | 82-XV2013, 82-XY2013, 82-ZL2013, 82-ZS2013 | 4 | 4 | 4 | 0 | 0
loop 82-2612 | 82-HS2612, 82-XV2612, 82-XY2612, 82-ZL2612, 82-ZS2612 | 4 | 4 | 4 | 0 | 0
loop 82-2812 | 82-HS2812, 82-XV2812, 82-XY2812, 82-ZL2812, 82-ZS2812 | 4 | 4 | 4 | 0 | 0
AI-prepared draft from extracted P&ID/SCD data — for HAZOP team review, not a completed study.

## loop 82-2012
Node: loop 82-2012
Members: 82-XY2012, 82-ZL2012
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
No flow | blocked line / closed valve (generic); pump/compressor stop (generic) | loss of process function (generic); functions affected: 82-XY2012; safety functions in node: 82-ZL2012 | (none found in extraction — verify) |  |  | proposed
Low flow | partial blockage / fouling (generic) | reduced capacity (generic); functions affected: 82-XY2012; safety functions in node: 82-ZL2012 | (none found in extraction — verify) |  |  | proposed
High flow | control valve fully open (generic) | possible downstream overload (generic); functions affected: 82-XY2012; safety functions in node: 82-ZL2012 | (none found in extraction — verify) |  |  | proposed
Reverse flow | check-valve failure / pressure reversal (generic) | possible contamination / backflow to upstream (generic); functions affected: 82-XY2012; safety functions in node: 82-ZL2012 | (none found in extraction — verify) |  |  | proposed

## loop 82-2013
Node: loop 82-2013
Members: 82-XV2013, 82-XY2013, 82-ZL2013, 82-ZS2013
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
No flow | blocked line / closed valve (generic); pump/compressor stop (generic) | loss of process function (generic); functions affected: 82-XV2013, 82-XY2013; safety functions in node: 82-XV2013, 82-ZL2013, 82-ZS2013 | 82-XV2013 |  |  | proposed
Low flow | partial blockage / fouling (generic) | reduced capacity (generic); functions affected: 82-XV2013, 82-XY2013; safety functions in node: 82-XV2013, 82-ZL2013, 82-ZS2013 | 82-XV2013 |  |  | proposed
High flow | control valve fully open (generic) | possible downstream overload (generic); functions affected: 82-XV2013, 82-XY2013; safety functions in node: 82-XV2013, 82-ZL2013, 82-ZS2013 | 82-XV2013 |  |  | proposed
Reverse flow | check-valve failure / pressure reversal (generic) | possible contamination / backflow to upstream (generic); functions affected: 82-XV2013, 82-XY2013; safety functions in node: 82-XV2013, 82-ZL2013, 82-ZS2013 | 82-XV2013 |  |  | proposed

## loop 82-2612
Node: loop 82-2612
Members: 82-HS2612, 82-XV2612, 82-XY2612, 82-ZL2612, 82-ZS2612
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
No flow | blocked line / closed valve (generic); pump/compressor stop (generic) | loss of process function (generic); functions affected: 82-HS2612, 82-XV2612, 82-XY2612; safety functions in node: 82-HS2612, 82-XV2612, 82-ZL2612, 82-ZS2612 | 82-XV2612 |  |  | proposed
Low flow | partial blockage / fouling (generic) | reduced capacity (generic); functions affected: 82-HS2612, 82-XV2612, 82-XY2612; safety functions in node: 82-HS2612, 82-XV2612, 82-ZL2612, 82-ZS2612 | 82-XV2612 |  |  | proposed
High flow | control valve fully open (generic) | possible downstream overload (generic); functions affected: 82-HS2612, 82-XV2612, 82-XY2612; safety functions in node: 82-HS2612, 82-XV2612, 82-ZL2612, 82-ZS2612 | 82-XV2612 |  |  | proposed
Reverse flow | check-valve failure / pressure reversal (generic) | possible contamination / backflow to upstream (generic); functions affected: 82-HS2612, 82-XV2612, 82-XY2612; safety functions in node: 82-HS2612, 82-XV2612, 82-ZL2612, 82-ZS2612 | 82-XV2612 |  |  | proposed

## loop 82-2812
Node: loop 82-2812
Members: 82-HS2812, 82-XV2812, 82-XY2812, 82-ZL2812, 82-ZS2812
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
No flow | blocked line / closed valve (generic); pump/compressor stop (generic) | loss of process function (generic); functions affected: 82-HS2812, 82-XV2812, 82-XY2812; safety functions in node: 82-HS2812, 82-XV2812, 82-ZL2812, 82-ZS2812 | 82-XV2812 |  |  | proposed
Low flow | partial blockage / fouling (generic) | reduced capacity (generic); functions affected: 82-HS2812, 82-XV2812, 82-XY2812; safety functions in node: 82-HS2812, 82-XV2812, 82-ZL2812, 82-ZS2812 | 82-XV2812 |  |  | proposed
High flow | control valve fully open (generic) | possible downstream overload (generic); functions affected: 82-HS2812, 82-XV2812, 82-XY2812; safety functions in node: 82-HS2812, 82-XV2812, 82-ZL2812, 82-ZS2812 | 82-XV2812 |  |  | proposed
Reverse flow | check-valve failure / pressure reversal (generic) | possible contamination / backflow to upstream (generic); functions affected: 82-HS2812, 82-XV2812, 82-XY2812; safety functions in node: 82-HS2812, 82-XV2812, 82-ZL2812, 82-ZS2812 | 82-XV2812 |  |  | proposed