## Summary
HAZOP preparation — System 27
Node | Members | Rows | Rows w/ safeguard | proposed | reviewed | rejected
loop 27-4250 | 27-PT4250A, 27-PT4250A, 27-PT4250B, 27-PT4250B | 2 | 0 | 2 | 0 | 0
loop 27-4252 | 27-PT4252A, 27-PT4252B | 2 | 0 | 2 | 0 | 0
loop 27-4801 | 27-FI4801, 27-FT4801 | 4 | 0 | 4 | 0 | 0
loop 27-4803 | 27-PIC4803, 27-PT4803, 27-PT4803, 27-PV4803, 27-PY4803 | 2 | 0 | 2 | 0 | 0
loop 27-4804 | 27-PI4804, 27-PT4804, 27-PT4804 | 2 | 0 | 2 | 0 | 0
loop 27-4805 | 27-PI4805, 27-PT4805, 27-PT4805 | 2 | 0 | 2 | 0 | 0
loop 27-4806 | 27-TI4806, 27-TT4806, 27-TT4806 | 2 | 0 | 2 | 0 | 0
loop 27-4807 | 27-PI4807, 27-PT4807 | 2 | 0 | 2 | 0 | 0
loop 27-4811 | 27-FV4811, 27-FY4811A, 27-FY4811B, 27-FY4811C, 27-HS4811 | 4 | 0 | 4 | 0 | 0
loop 27-4812 | 27-PDI4812, 27-PDT4812, 27-PDT4812 | 2 | 0 | 2 | 0 | 0
loop 27-4813 | 27-HS4813, 27-XV4813, 27-XV4813, 27-XY4813, 27-ZL4813, 27-ZS4813 | 4 | 4 | 4 | 0 | 0
loop 27-4814 | 27-HS4814, 27-XV4814, 27-XV4814, 27-XY4814, 27-ZL4814, 27-ZS4814 | 4 | 4 | 4 | 0 | 0
loop 27-4823 | 27-PI4823, 27-PT4823 | 2 | 0 | 2 | 0 | 0
loop 27-4825 | 27-PIC4825A, 27-PIC4825A, 27-PIC4825B, 27-PIC4825B, 27-PIC4825C, 27-PIC4825C, 27-PT4825, 27-PT4825 | 2 | 0 | 2 | 0 | 0
loop 27-4826 | 27-HS4826, 27-XV4826, 27-XV4826, 27-XY4826, 27-ZL4826, 27-ZS4826 | 4 | 4 | 4 | 0 | 0
loop 27-4828 | 27-HS4828, 27-XV4828, 27-XV4828, 27-XY4828, 27-ZL4828, 27-ZS4828 | 4 | 4 | 4 | 0 | 0
AI-prepared draft from extracted P&ID/SCD data — for HAZOP team review, not a completed study.

## loop 27-4250
Node: loop 27-4250
Members: 27-PT4250A, 27-PT4250A, 27-PT4250B, 27-PT4250B
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
High pressure | blocked outlet (generic); upstream pressure source (generic) | possible overpressure of section (generic) | (none found in extraction — verify) |  |  | proposed
Low pressure | upstream supply loss (generic); leak / rupture (generic) | loss of process function / possible gas breakthrough (generic) | (none found in extraction — verify) |  |  | proposed

## loop 27-4252
Node: loop 27-4252
Members: 27-PT4252A, 27-PT4252B
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
High pressure | blocked outlet (generic); upstream pressure source (generic) | possible overpressure of section (generic) | (none found in extraction — verify) |  |  | proposed
Low pressure | upstream supply loss (generic); leak / rupture (generic) | loss of process function / possible gas breakthrough (generic) | (none found in extraction — verify) |  |  | proposed

## loop 27-4801
Node: loop 27-4801
Members: 27-FI4801, 27-FT4801
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
No flow | blocked line / closed valve (generic); pump/compressor stop (generic) | loss of process function (generic) | (none found in extraction — verify) |  |  | proposed
Low flow | partial blockage / fouling (generic) | reduced capacity (generic) | (none found in extraction — verify) |  |  | proposed
High flow | control valve fully open (generic) | possible downstream overload (generic) | (none found in extraction — verify) |  |  | proposed
Reverse flow | check-valve failure / pressure reversal (generic) | possible contamination / backflow to upstream (generic) | (none found in extraction — verify) |  |  | proposed

## loop 27-4803
Node: loop 27-4803
Members: 27-PIC4803, 27-PT4803, 27-PT4803, 27-PV4803, 27-PY4803
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
High pressure | 27-PIC4803: wrong output; 27-PIC4803: tuning drift; 27-PV4803: sticks; 27-PV4803: wrong position; blocked outlet (generic); upstream pressure source (generic) | possible overpressure of section (generic); functions affected: 27-PIC4803, 27-PV4803, 27-PY4803 | (none found in extraction — verify) |  |  | proposed
Low pressure | 27-PIC4803: wrong output; 27-PIC4803: tuning drift; 27-PV4803: sticks; 27-PV4803: wrong position; upstream supply loss (generic); leak / rupture (generic) | loss of process function / possible gas breakthrough (generic); functions affected: 27-PIC4803, 27-PV4803, 27-PY4803 | (none found in extraction — verify) |  |  | proposed

## loop 27-4804
Node: loop 27-4804
Members: 27-PI4804, 27-PT4804, 27-PT4804
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
High pressure | blocked outlet (generic); upstream pressure source (generic) | possible overpressure of section (generic) | (none found in extraction — verify) |  |  | proposed
Low pressure | upstream supply loss (generic); leak / rupture (generic) | loss of process function / possible gas breakthrough (generic) | (none found in extraction — verify) |  |  | proposed

## loop 27-4805
Node: loop 27-4805
Members: 27-PI4805, 27-PT4805, 27-PT4805
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
High pressure | blocked outlet (generic); upstream pressure source (generic) | possible overpressure of section (generic) | (none found in extraction — verify) |  |  | proposed
Low pressure | upstream supply loss (generic); leak / rupture (generic) | loss of process function / possible gas breakthrough (generic) | (none found in extraction — verify) |  |  | proposed

## loop 27-4806
Node: loop 27-4806
Members: 27-TI4806, 27-TT4806, 27-TT4806
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
High temperature | loss of cooling (generic) | possible material/design-limit exceedance (generic) | (none found in extraction — verify) |  |  | proposed
Low temperature | JT-cooling on depressurisation (generic); loss of heating (generic) | possible hydrate formation / brittle fracture risk (generic) | (none found in extraction — verify) |  |  | proposed

## loop 27-4807
Node: loop 27-4807
Members: 27-PI4807, 27-PT4807
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
High pressure | blocked outlet (generic); upstream pressure source (generic) | possible overpressure of section (generic) | (none found in extraction — verify) |  |  | proposed
Low pressure | upstream supply loss (generic); leak / rupture (generic) | loss of process function / possible gas breakthrough (generic) | (none found in extraction — verify) |  |  | proposed

## loop 27-4811
Node: loop 27-4811
Members: 27-FV4811, 27-FY4811A, 27-FY4811B, 27-FY4811C, 27-HS4811
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
No flow | 27-FV4811: sticks; 27-FV4811: wrong position; blocked line / closed valve (generic); pump/compressor stop (generic) | loss of process function (generic); functions affected: 27-FV4811, 27-FY4811A, 27-FY4811B, 27-FY4811C, 27-HS4811; safety functions in node: 27-HS4811 | (none found in extraction — verify) |  |  | proposed
Low flow | 27-FV4811: sticks; 27-FV4811: wrong position; partial blockage / fouling (generic) | reduced capacity (generic); functions affected: 27-FV4811, 27-FY4811A, 27-FY4811B, 27-FY4811C, 27-HS4811; safety functions in node: 27-HS4811 | (none found in extraction — verify) |  |  | proposed
High flow | 27-FV4811: sticks; 27-FV4811: wrong position; control valve fully open (generic) | possible downstream overload (generic); functions affected: 27-FV4811, 27-FY4811A, 27-FY4811B, 27-FY4811C, 27-HS4811; safety functions in node: 27-HS4811 | (none found in extraction — verify) |  |  | proposed
Reverse flow | 27-FV4811: sticks; 27-FV4811: wrong position; check-valve failure / pressure reversal (generic) | possible contamination / backflow to upstream (generic); functions affected: 27-FV4811, 27-FY4811A, 27-FY4811B, 27-FY4811C, 27-HS4811; safety functions in node: 27-HS4811 | (none found in extraction — verify) |  |  | proposed

## loop 27-4812
Node: loop 27-4812
Members: 27-PDI4812, 27-PDT4812, 27-PDT4812
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
High pressure | blocked outlet (generic); upstream pressure source (generic) | possible overpressure of section (generic) | (none found in extraction — verify) |  |  | proposed
Low pressure | upstream supply loss (generic); leak / rupture (generic) | loss of process function / possible gas breakthrough (generic) | (none found in extraction — verify) |  |  | proposed

## loop 27-4813
Node: loop 27-4813
Members: 27-HS4813, 27-XV4813, 27-XV4813, 27-XY4813, 27-ZL4813, 27-ZS4813
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
No flow | blocked line / closed valve (generic); pump/compressor stop (generic) | loss of process function (generic); functions affected: 27-HS4813, 27-XV4813, 27-XY4813; safety functions in node: 27-HS4813, 27-XV4813, 27-XV4813, 27-ZL4813, 27-ZS4813 | 27-XV4813 |  |  | proposed
Low flow | partial blockage / fouling (generic) | reduced capacity (generic); functions affected: 27-HS4813, 27-XV4813, 27-XY4813; safety functions in node: 27-HS4813, 27-XV4813, 27-XV4813, 27-ZL4813, 27-ZS4813 | 27-XV4813 |  |  | proposed
High flow | control valve fully open (generic) | possible downstream overload (generic); functions affected: 27-HS4813, 27-XV4813, 27-XY4813; safety functions in node: 27-HS4813, 27-XV4813, 27-XV4813, 27-ZL4813, 27-ZS4813 | 27-XV4813 |  |  | proposed
Reverse flow | check-valve failure / pressure reversal (generic) | possible contamination / backflow to upstream (generic); functions affected: 27-HS4813, 27-XV4813, 27-XY4813; safety functions in node: 27-HS4813, 27-XV4813, 27-XV4813, 27-ZL4813, 27-ZS4813 | 27-XV4813 |  |  | proposed

## loop 27-4814
Node: loop 27-4814
Members: 27-HS4814, 27-XV4814, 27-XV4814, 27-XY4814, 27-ZL4814, 27-ZS4814
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
No flow | blocked line / closed valve (generic); pump/compressor stop (generic) | loss of process function (generic); functions affected: 27-HS4814, 27-XV4814, 27-XY4814; safety functions in node: 27-HS4814, 27-XV4814, 27-XV4814, 27-ZL4814, 27-ZS4814 | 27-XV4814 |  |  | proposed
Low flow | partial blockage / fouling (generic) | reduced capacity (generic); functions affected: 27-HS4814, 27-XV4814, 27-XY4814; safety functions in node: 27-HS4814, 27-XV4814, 27-XV4814, 27-ZL4814, 27-ZS4814 | 27-XV4814 |  |  | proposed
High flow | control valve fully open (generic) | possible downstream overload (generic); functions affected: 27-HS4814, 27-XV4814, 27-XY4814; safety functions in node: 27-HS4814, 27-XV4814, 27-XV4814, 27-ZL4814, 27-ZS4814 | 27-XV4814 |  |  | proposed
Reverse flow | check-valve failure / pressure reversal (generic) | possible contamination / backflow to upstream (generic); functions affected: 27-HS4814, 27-XV4814, 27-XY4814; safety functions in node: 27-HS4814, 27-XV4814, 27-XV4814, 27-ZL4814, 27-ZS4814 | 27-XV4814 |  |  | proposed

## loop 27-4823
Node: loop 27-4823
Members: 27-PI4823, 27-PT4823
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
High pressure | blocked outlet (generic); upstream pressure source (generic) | possible overpressure of section (generic) | (none found in extraction — verify) |  |  | proposed
Low pressure | upstream supply loss (generic); leak / rupture (generic) | loss of process function / possible gas breakthrough (generic) | (none found in extraction — verify) |  |  | proposed

## loop 27-4825
Node: loop 27-4825
Members: 27-PIC4825A, 27-PIC4825A, 27-PIC4825B, 27-PIC4825B, 27-PIC4825C, 27-PIC4825C, 27-PT4825, 27-PT4825
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
High pressure | 27-PIC4825A: wrong output; 27-PIC4825A: tuning drift; 27-PIC4825A: wrong output; 27-PIC4825A: tuning drift; 27-PIC4825B: wrong output; 27-PIC4825B: tuning drift; 27-PIC4825B: wrong output; 27-PIC4825B: tuning drift; 27-PIC4825C: wrong output; 27-PIC4825C: tuning drift; 27-PIC4825C: wrong output; 27-PIC4825C: tuning drift; blocked outlet (generic); upstream pressure source (generic) | possible overpressure of section (generic); functions affected: 27-PIC4825A, 27-PIC4825B, 27-PIC4825C | (none found in extraction — verify) |  |  | proposed
Low pressure | 27-PIC4825A: wrong output; 27-PIC4825A: tuning drift; 27-PIC4825A: wrong output; 27-PIC4825A: tuning drift; 27-PIC4825B: wrong output; 27-PIC4825B: tuning drift; 27-PIC4825B: wrong output; 27-PIC4825B: tuning drift; 27-PIC4825C: wrong output; 27-PIC4825C: tuning drift; 27-PIC4825C: wrong output; 27-PIC4825C: tuning drift; upstream supply loss (generic); leak / rupture (generic) | loss of process function / possible gas breakthrough (generic); functions affected: 27-PIC4825A, 27-PIC4825B, 27-PIC4825C | (none found in extraction — verify) |  |  | proposed

## loop 27-4826
Node: loop 27-4826
Members: 27-HS4826, 27-XV4826, 27-XV4826, 27-XY4826, 27-ZL4826, 27-ZS4826
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
No flow | blocked line / closed valve (generic); pump/compressor stop (generic) | loss of process function (generic); functions affected: 27-HS4826, 27-XV4826, 27-XY4826; safety functions in node: 27-HS4826, 27-XV4826, 27-XV4826, 27-ZL4826, 27-ZS4826 | 27-XV4826 |  |  | proposed
Low flow | partial blockage / fouling (generic) | reduced capacity (generic); functions affected: 27-HS4826, 27-XV4826, 27-XY4826; safety functions in node: 27-HS4826, 27-XV4826, 27-XV4826, 27-ZL4826, 27-ZS4826 | 27-XV4826 |  |  | proposed
High flow | control valve fully open (generic) | possible downstream overload (generic); functions affected: 27-HS4826, 27-XV4826, 27-XY4826; safety functions in node: 27-HS4826, 27-XV4826, 27-XV4826, 27-ZL4826, 27-ZS4826 | 27-XV4826 |  |  | proposed
Reverse flow | check-valve failure / pressure reversal (generic) | possible contamination / backflow to upstream (generic); functions affected: 27-HS4826, 27-XV4826, 27-XY4826; safety functions in node: 27-HS4826, 27-XV4826, 27-XV4826, 27-ZL4826, 27-ZS4826 | 27-XV4826 |  |  | proposed

## loop 27-4828
Node: loop 27-4828
Members: 27-HS4828, 27-XV4828, 27-XV4828, 27-XY4828, 27-ZL4828, 27-ZS4828
Deviation | Causes | Consequences | Safeguards | Recommendation | Action party | Status
No flow | blocked line / closed valve (generic); pump/compressor stop (generic) | loss of process function (generic); functions affected: 27-HS4828, 27-XV4828, 27-XY4828; safety functions in node: 27-HS4828, 27-XV4828, 27-XV4828, 27-ZL4828, 27-ZS4828 | 27-XV4828 |  |  | proposed
Low flow | partial blockage / fouling (generic) | reduced capacity (generic); functions affected: 27-HS4828, 27-XV4828, 27-XY4828; safety functions in node: 27-HS4828, 27-XV4828, 27-XV4828, 27-ZL4828, 27-ZS4828 | 27-XV4828 |  |  | proposed
High flow | control valve fully open (generic) | possible downstream overload (generic); functions affected: 27-HS4828, 27-XV4828, 27-XY4828; safety functions in node: 27-HS4828, 27-XV4828, 27-XV4828, 27-ZL4828, 27-ZS4828 | 27-XV4828 |  |  | proposed
Reverse flow | check-valve failure / pressure reversal (generic) | possible contamination / backflow to upstream (generic); functions affected: 27-HS4828, 27-XV4828, 27-XY4828; safety functions in node: 27-HS4828, 27-XV4828, 27-XV4828, 27-ZL4828, 27-ZS4828 | 27-XV4828 |  |  | proposed